## Slide 1: Electric Circuits
Dr. Muawia Mahmoud
mamahmoud@fbsu.edu.sa

## Slide 2: Text book, and references
C.L Wadhwa, Basic Electrical Engineering, New age publishing, 2007
Charles J. Alexander, Sadiku, Fundamentals of Electric Circuits, 4th, McGraw-Hill, 2009

## Slide 3
DC Circuits

## Slide 4
ELECTRIC Current CURRENT
Charge Q = I*t coulomb (C)

## Slide 6
Energy W = V*l*t joule

## Slide 8
Resistance

## Slide 15
Real Power, Apparent and Reactive powers (AC)
Efficiency is calculated using Real Power: (Watt/Watt)
In Watt

## Slide 17
An electric motor is connected to a 230 V supply.
Line current = 10 A
Power factor = 0.6 lagging
Mechanical output power = 1,100 W

## Slide 18
Watt/VA = Real/Apparent

## Slide 19
Example (DC)
calculate the current i, the conductance
G, and the power p.

## Slide 21
with PF = 1

## Slide 22
Resistors Connections

## Slide 26
Find Req.
Starting from the right hand side and using the simplified equation for two parallel resistors, we can find the equivalent resistance of the R8 to R10 combination and call it RA.